Loxone Showhome

Facts & Figures

Project Name		Loxone Showhome

Location: 		Kollerschlag, Austria

Opened: 		15.06.2016

Construction time: 		9 Months

Floor space: 		262m2

Rooms:		9, including 5 bedrooms

Construction type: 		Reinforced concrete with timber frame

Average U-value: 		0.22 W/m2K

Energy efficiency rating:		A

Build cost:		€ 700,000

Home automation system: 	Loxone

Building Components

Heating System: 		M-Tec WPD412 Heat Pump with CO2 probe

Heat Distribution: 		Underfloor Heating

PV System: 		5 kWp on the roof (LX-250P)

Inverter: 		Fronius Symo Hybrid 5.0-3M

Battery Storage: 		Fronius Solar Battery 4.5

Lighting: 		Loxone - 100% LED

Multiroom Audio: 		Loxone Music Server

Ventilation: 		Enervent LTR-3 eco EDE

Safety:		Intelligent Alarm: Smoke alarm and fire detection

E-charging station: 		Keba KECONTACT P20 Wallbox

Blinds:		Geiger Antriebstechnik

Sauna: 		Finnish-style sauna and evaporator

Loxone Components

| 1 Miniserver 1 Extension 4 Relay Extension 1 Air Base Extension 2 DMX Extension 54 RGBW 24V Dimmer DMX 7 1-Wire Extension 1 Dimmer Extension 1 Modbus Extension 2 Modbus Electricity Meter (3 Phase) 1 Tree Extension 35 Valve Actuator Tree | 8 Touch Tree 14 Touch pure Tree 3 Motion Sensor Tree (Anthracite) 32 Motion Sensor Tree (White 2 Touch Pure Air (White) 10 Motion Sensor Air (Anthracite) 9 Motion Sensor Air (White 1 Intercom XL 1 Flush-Mount Box For Loxone Intercom 1 Loxone Music Server 20 Zone 3 12 Channel Loxone Amplifier 11 Smoke Detector Air | 25 Speakers 25 Speaker Back Box 48 LED Spots WW 18 LED Spots RGBW 28 RGBW LED Strip 5m 1 Wind Sensor (24V) + Mounting 1 iButton Reader 1-Wire Outdoor 5 iButton Reader 1-Wire Indoor 1 Temperature and Humidity Sensor for Saunas 5 Temperature Sensor Set 1-Wire 11 Temperature Probe 1-Wire 1000m of Loxone CAT7 Cable |
| --- | --- | --- |